## Process data
Report generated (UTC) | 2024-06-07 13:02
Software version | Aurora 1.0.6
Instrument name | 0p6M_pH2 K2SO4
Instrument model name | BPC Go
Ethernet mac address | f8:dc:7a:6f:0d:ec
Agitation state | Off
Agitation phase | Single
Agitation phase speed (%) | 30
Gas normalisation | Unnormalised
Line | 1
Name | Sn GDE -pulsing
Start of experiment (UTC) | 2024-06-05 08:02
Reactor volume (ml) | 2000
| Sn GDE -pulsing | Sn GDE -pulsing
Time (UTC) | Gas flow rate | Specific gas production
Interval: 5 minutes | (ml/min) | (ml/min/l)
2024-06-05 08:00 | 0 | 0
2024-06-05 08:05 | 27.6863 | 13.8432
2024-06-05 08:10 | 44.6141 | 22.3071
2024-06-05 08:15 | 43.5604 | 21.7802
2024-06-05 08:20 | 44.2532 | 22.1266
2024-06-05 08:25 | 45.5461 | 22.773
2024-06-05 08:30 | 46.973 | 23.4865
2024-06-05 08:35 | 48.6052 | 24.3026
2024-06-05 08:40 | 49.5184 | 24.7592
2024-06-05 08:45 | 50.9821 | 25.491
2024-06-05 08:50 | 51.9984 | 25.9992
2024-06-05 08:55 | 53.4393 | 26.7197
2024-06-05 09:00 | 53.7695 | 26.8847
2024-06-05 09:05 | 54.6053 | 27.3026
2024-06-05 09:10 | 55.1866 | 27.5933
2024-06-05 09:15 | 55.579 | 27.7895
2024-06-05 09:20 | 55.8709 | 27.9355
2024-06-05 09:25 | 57.5852 | 28.7926
2024-06-05 09:30 | 57.5845 | 28.7923
2024-06-05 09:35 | 57.3319 | 28.6659
2024-06-05 09:40 | 57.9125 | 28.9562
2024-06-05 09:45 | 58.1551 | 29.0775
2024-06-05 09:50 | 58.3317 | 29.1658
2024-06-05 09:55 | 58.7079 | 29.3539
2024-06-05 10:00 | 58.8486 | 29.4243
2024-06-05 10:05 | 58.9188 | 29.4594
2024-06-05 10:10 | 59.3006 | 29.6503
2024-06-05 10:15 | 59.5204 | 29.7602
2024-06-05 10:20 | 59.5513 | 29.7756
2024-06-05 10:25 | 59.8598 | 29.9299
2024-06-05 10:30 | 60.023 | 30.0115
2024-06-05 10:35 | 59.9256 | 29.9628
2024-06-05 10:40 | 60.2649 | 30.1324
2024-06-05 10:45 | 59.9825 | 29.9912
2024-06-05 10:50 | 60.0506 | 30.0253
2024-06-05 10:55 | 60.3026 | 30.1513
2024-06-05 11:00 | 59.9423 | 29.9711
2024-06-05 11:05 | 60.2833 | 30.1417
2024-06-05 11:10 | 60.5939 | 30.297
2024-06-05 11:15 | 60.622 | 30.311
2024-06-05 11:20 | 60.5679 | 30.2839
2024-06-05 11:25 | 60.439 | 30.2195
2024-06-05 11:30 | 61.1016 | 30.5508
2024-06-05 11:35 | 60.6901 | 30.3451
2024-06-05 11:40 | 61.027 | 30.5135
2024-06-05 11:45 | 60.6705 | 30.3353
2024-06-05 11:50 | 60.7209 | 30.3604
2024-06-05 11:55 | 60.9576 | 30.4788
2024-06-05 12:00 | 60.9594 | 30.4797
2024-06-05 12:05 | 61.0419 | 30.5209
2024-06-05 12:10 | 60.8451 | 30.4226
2024-06-05 12:15 | 60.7148 | 30.3574
2024-06-05 12:20 | 60.8014 | 30.4007
2024-06-05 12:25 | 60.5875 | 30.2937
2024-06-05 12:30 | 60.7863 | 30.3932
2024-06-05 12:35 | 60.524 | 30.262
2024-06-05 12:40 | 60.7235 | 30.3617
2024-06-05 12:45 | 60.5526 | 30.2763
2024-06-05 12:50 | 60.6158 | 30.3079
2024-06-05 12:55 | 60.8691 | 30.4345
2024-06-05 13:00 | 60.5123 | 30.2561
2024-06-05 13:05 | 60.8466 | 30.4233
2024-06-05 13:10 | 60.8093 | 30.4047
2024-06-05 13:15 | 60.367 | 30.1835
2024-06-05 13:20 | 61.017 | 30.5085
2024-06-05 13:25 | 60.5377 | 30.2689
2024-06-05 13:30 | 60.3948 | 30.1974
2024-06-05 13:35 | 60.9888 | 30.4944
2024-06-05 13:40 | 60.9517 | 30.4759
2024-06-05 13:45 | 60.89 | 30.445
2024-06-05 13:50 | 60.8967 | 30.4484
2024-06-05 13:55 | 60.7062 | 30.3531
2024-06-05 14:00 | 60.8728 | 30.4364
2024-06-05 14:05 | 60.5968 | 30.2984
2024-06-05 14:10 | 60.534 | 30.267
2024-06-05 14:15 | 60.6508 | 30.3254
2024-06-05 14:20 | 60.647 | 30.3235
2024-06-05 14:25 | 61.1317 | 30.5659
2024-06-05 14:30 | 60.8101 | 30.405
2024-06-05 14:35 | 60.9493 | 30.4746
2024-06-05 14:40 | 60.609 | 30.3045
2024-06-05 14:45 | 60.9074 | 30.4537
2024-06-05 14:50 | 60.5317 | 30.2659
2024-06-05 14:55 | 61.2034 | 30.6017
2024-06-05 15:00 | 60.6483 | 30.3242
2024-06-05 15:05 | 60.8839 | 30.4419
2024-06-05 15:10 | 60.5242 | 30.2621
2024-06-05 15:15 | 60.5711 | 30.2855
2024-06-05 15:20 | 60.7884 | 30.3942
2024-06-05 15:25 | 60.6598 | 30.3299
2024-06-05 15:30 | 60.9834 | 30.4917
2024-06-05 15:35 | 61.0352 | 30.5176
2024-06-05 15:40 | 61.1053 | 30.5526
2024-06-05 15:45 | 60.931 | 30.4655
2024-06-05 15:50 | 61.6347 | 30.8174
2024-06-05 15:55 | 61.7185 | 30.8593
2024-06-05 16:00 | 61.8855 | 30.9428
2024-06-05 16:05 | 62.1825 | 31.0913
2024-06-05 16:10 | 62.1067 | 31.0534
2024-06-05 16:15 | 62.2435 | 31.1217
2024-06-05 16:20 | 62.093 | 31.0465
2024-06-05 16:25 | 61.7415 | 30.8708
2024-06-05 16:30 | 61.8892 | 30.9446
2024-06-05 16:35 | 61.9259 | 30.9629
2024-06-05 16:40 | 61.9033 | 30.9517
2024-06-05 16:45 | 62.0942 | 31.0471
2024-06-05 16:50 | 61.8579 | 30.929
2024-06-05 16:55 | 62.0701 | 31.0351
2024-06-05 17:00 | 61.8162 | 30.9081
2024-06-05 17:05 | 61.8044 | 30.9022
2024-06-05 17:10 | 61.9788 | 30.9894
2024-06-05 17:15 | 62.0394 | 31.0197
2024-06-05 17:20 | 62.0061 | 31.0031
2024-06-05 17:25 | 62.2997 | 31.1499
2024-06-05 17:30 | 62.0534 | 31.0267
2024-06-05 17:35 | 61.6365 | 30.8183
2024-06-05 17:40 | 61.7812 | 30.8906
2024-06-05 17:45 | 61.8752 | 30.9376
2024-06-05 17:50 | 61.8958 | 30.9479
2024-06-05 17:55 | 62.4196 | 31.2098
2024-06-05 18:00 | 62.3074 | 31.1537
2024-06-05 18:05 | 62.2189 | 31.1094
2024-06-05 18:10 | 62.2612 | 31.1306
2024-06-05 18:15 | 62.3949 | 31.1975
2024-06-05 18:20 | 62.1705 | 31.0853
2024-06-05 18:25 | 62.2199 | 31.1099
2024-06-05 18:30 | 62.187 | 31.0935
2024-06-05 18:35 | 62.1 | 31.05
2024-06-05 18:40 | 62.2717 | 31.1358
2024-06-05 18:45 | 62.4725 | 31.2362
2024-06-05 18:50 | 62.1831 | 31.0915
2024-06-05 18:55 | 62.3308 | 31.1654
2024-06-05 19:00 | 62.3779 | 31.1889
2024-06-05 19:05 | 62.0825 | 31.0412
2024-06-05 19:10 | 61.9335 | 30.9667
2024-06-05 19:15 | 62.3285 | 31.1643
2024-06-05 19:20 | 62.081 | 31.0405
2024-06-05 19:25 | 62.1758 | 31.0879
2024-06-05 19:30 | 62.1895 | 31.0948
2024-06-05 19:35 | 62.3425 | 31.1713
2024-06-05 19:40 | 62.156 | 31.078
2024-06-05 19:45 | 61.8195 | 30.9098
2024-06-05 19:50 | 61.5458 | 30.7729
2024-06-05 19:55 | 61.9452 | 30.9726
2024-06-05 20:00 | 61.8656 | 30.9328
2024-06-05 20:05 | 61.8521 | 30.9261
2024-06-05 20:10 | 61.8579 | 30.9289
2024-06-05 20:15 | 61.8232 | 30.9116
2024-06-05 20:20 | 61.8417 | 30.9209
2024-06-05 20:25 | 61.7762 | 30.8881
2024-06-05 20:30 | 61.5506 | 30.7753
2024-06-05 20:35 | 61.7905 | 30.8952
2024-06-05 20:40 | 61.5928 | 30.7964
2024-06-05 20:45 | 61.8432 | 30.9216
2024-06-05 20:50 | 62.0358 | 31.0179
2024-06-05 20:55 | 61.5226 | 30.7613
2024-06-05 21:00 | 61.8288 | 30.9144
2024-06-05 21:05 | 61.7377 | 30.8689
2024-06-05 21:10 | 61.9736 | 30.9868
2024-06-05 21:15 | 61.9426 | 30.9713
2024-06-05 21:20 | 61.6921 | 30.8461
2024-06-05 21:25 | 61.95 | 30.975
2024-06-05 21:30 | 61.6791 | 30.8395
2024-06-05 21:35 | 61.8044 | 30.9022
2024-06-05 21:40 | 61.876 | 30.938
2024-06-05 21:45 | 62.3689 | 31.1845
2024-06-05 21:50 | 62.6401 | 31.32
2024-06-05 21:55 | 62.81 | 31.405
2024-06-05 22:00 | 62.5956 | 31.2978
2024-06-05 22:05 | 62.5089 | 31.2545
2024-06-05 22:10 | 62.5372 | 31.2686
2024-06-05 22:15 | 62.5636 | 31.2818
2024-06-05 22:20 | 62.8464 | 31.4232
2024-06-05 22:25 | 62.4298 | 31.2149
2024-06-05 22:30 | 62.7709 | 31.3855
2024-06-05 22:35 | 62.4764 | 31.2382
2024-06-05 22:40 | 62.3405 | 31.1703
2024-06-05 22:45 | 62.3877 | 31.1938
2024-06-05 22:50 | 62.4063 | 31.2031
2024-06-05 22:55 | 62.7061 | 31.353
2024-06-05 23:00 | 62.4759 | 31.238
2024-06-05 23:05 | 62.2715 | 31.1358
2024-06-05 23:10 | 62.7435 | 31.3718
2024-06-05 23:15 | 62.4305 | 31.2153
2024-06-05 23:20 | 62.3114 | 31.1557
2024-06-05 23:25 | 62.4067 | 31.2033
2024-06-05 23:30 | 62.4575 | 31.2288
2024-06-05 23:35 | 62.2696 | 31.1348
2024-06-05 23:40 | 62.0137 | 31.0069
2024-06-05 23:45 | 63.1313 | 31.5656
2024-06-05 23:50 | 63.7734 | 31.8867
2024-06-05 23:55 | 63.6355 | 31.8178
2024-06-06 | 63.6303 | 31.8151
2024-06-06 00:05 | 63.5665 | 31.7833
2024-06-06 00:10 | 63.2856 | 31.6428
2024-06-06 00:15 | 63.3465 | 31.6732
2024-06-06 00:20 | 63.1409 | 31.5704
2024-06-06 00:25 | 63.1835 | 31.5917
2024-06-06 00:30 | 63.3575 | 31.6787
2024-06-06 00:35 | 63.3627 | 31.6813
2024-06-06 00:40 | 63.3164 | 31.6582
2024-06-06 00:45 | 63.3818 | 31.6909
2024-06-06 00:50 | 63.1506 | 31.5753
2024-06-06 00:55 | 63.3188 | 31.6594
2024-06-06 01:00 | 63.2656 | 31.6328
2024-06-06 01:05 | 63.0276 | 31.5138
2024-06-06 01:10 | 63.0386 | 31.5193
2024-06-06 01:15 | 63.3032 | 31.6516
2024-06-06 01:20 | 63.2418 | 31.6209
2024-06-06 01:25 | 63.4705 | 31.7353
2024-06-06 01:30 | 63.3684 | 31.6842
2024-06-06 01:35 | 63.1218 | 31.5609
2024-06-06 01:40 | 63.131 | 31.5655
2024-06-06 01:45 | 65.46 | 32.73
2024-06-06 01:50 | 66.4913 | 33.2457
2024-06-06 01:55 | 66.1931 | 33.0966
2024-06-06 02:00 | 66.3636 | 33.1818
2024-06-06 02:05 | 66.2342 | 33.1171
2024-06-06 02:10 | 66.1818 | 33.0909
2024-06-06 02:15 | 66.118 | 33.059
2024-06-06 02:20 | 65.7554 | 32.8777
2024-06-06 02:25 | 65.7394 | 32.8697
2024-06-06 02:30 | 65.5564 | 32.7782
2024-06-06 02:35 | 65.5994 | 32.7997
2024-06-06 02:40 | 65.6908 | 32.8454
2024-06-06 02:45 | 65.8067 | 32.9033
2024-06-06 02:50 | 65.7046 | 32.8523
2024-06-06 02:55 | 65.4828 | 32.7414
2024-06-06 03:00 | 65.4897 | 32.7449
2024-06-06 03:05 | 65.535 | 32.7675
2024-06-06 03:10 | 65.6838 | 32.8419
2024-06-06 03:15 | 65.7734 | 32.8867
2024-06-06 03:20 | 65.2886 | 32.6443
2024-06-06 03:25 | 65.6201 | 32.8101
2024-06-06 03:30 | 65.5576 | 32.7788
2024-06-06 03:35 | 65.5334 | 32.7667
2024-06-06 03:40 | 65.2019 | 32.601
2024-06-06 03:45 | 67.9941 | 33.9971
2024-06-06 03:50 | 69.6611 | 34.8306
2024-06-06 03:55 | 69.7362 | 34.8681
2024-06-06 04:00 | 69.4378 | 34.7189
2024-06-06 04:05 | 69.4704 | 34.7352
2024-06-06 04:10 | 69.228 | 34.614
2024-06-06 04:15 | 69.155 | 34.5775
2024-06-06 04:20 | 69.3772 | 34.6886
2024-06-06 04:25 | 69.105 | 34.5525
2024-06-06 04:30 | 69.0874 | 34.5437
2024-06-06 04:35 | 69.1184 | 34.5592
2024-06-06 04:40 | 68.9562 | 34.4781
2024-06-06 04:45 | 68.8236 | 34.4118
2024-06-06 04:50 | 68.7884 | 34.3942
2024-06-06 04:55 | 68.9224 | 34.4612
2024-06-06 05:00 | 69.0136 | 34.5068
2024-06-06 05:05 | 68.9434 | 34.4717
2024-06-06 05:10 | 68.9582 | 34.4791
2024-06-06 05:15 | 68.9084 | 34.4542
2024-06-06 05:20 | 68.9019 | 34.4509
2024-06-06 05:25 | 68.5853 | 34.2926
2024-06-06 05:30 | 68.6976 | 34.3488
2024-06-06 05:35 | 68.7242 | 34.3621
2024-06-06 05:40 | 68.8274 | 34.4137
2024-06-06 05:45 | 75.4256 | 37.7128
2024-06-06 05:50 | 79.3749 | 39.6874
2024-06-06 05:55 | 78.8569 | 39.4284
2024-06-06 06:00 | 78.2765 | 39.1382
2024-06-06 06:05 | 78.1712 | 39.0856
2024-06-06 06:10 | 78.003 | 39.0015
2024-06-06 06:15 | 77.6692 | 38.8346
2024-06-06 06:20 | 77.9672 | 38.9836
2024-06-06 06:25 | 77.5276 | 38.7638
2024-06-06 06:30 | 77.5449 | 38.7725
2024-06-06 06:35 | 77.0656 | 38.5328
2024-06-06 06:40 | 76.9238 | 38.4619
2024-06-06 06:45 | 77.2049 | 38.6025
2024-06-06 06:50 | 77.3082 | 38.6541
2024-06-06 06:55 | 77.0601 | 38.5301
2024-06-06 07:00 | 77.0583 | 38.5291
2024-06-06 07:05 | 77.0316 | 38.5158
2024-06-06 07:10 | 77.1505 | 38.5753
2024-06-06 07:15 | 77.2169 | 38.6085
2024-06-06 07:20 | 77.3637 | 38.6818
2024-06-06 07:25 | 77.1973 | 38.5986
2024-06-06 07:30 | 77.4646 | 38.7323
2024-06-06 07:35 | 78.1521 | 39.076
2024-06-06 07:40 | 77.4099 | 38.7049
2024-06-06 07:45 | 68.8395 | 34.4197
2024-06-06 07:50 | 63.9154 | 31.9577
2024-06-06 07:55 | 58.9467 | 29.4733
2024-06-06 08:00 | 55.6779 | 27.839
2024-06-06 08:05 | 55.4615 | 27.7307
2024-06-06 08:10 | 55.9762 | 27.9881
2024-06-06 08:15 | 56.1997 | 28.0998
2024-06-06 08:20 | 56.4781 | 28.239
2024-06-06 08:25 | 57.148 | 28.574
2024-06-06 08:30 | 57.3107 | 28.6554
2024-06-06 08:35 | 57.8103 | 28.9052
2024-06-06 08:40 | 58.282 | 29.141
2024-06-06 08:45 | 58.4167 | 29.2084
2024-06-06 08:50 | 59.1139 | 29.557
2024-06-06 08:55 | 58.9625 | 29.4813
2024-06-06 09:00 | 59.0618 | 29.5309
2024-06-06 09:05 | 59.427 | 29.7135
2024-06-06 09:10 | 59.6356 | 29.8178
2024-06-06 09:15 | 59.7918 | 29.8959
2024-06-06 09:20 | 59.657 | 29.8285
2024-06-06 09:25 | 60.2836 | 30.1418
2024-06-06 09:30 | 60.1414 | 30.0707
2024-06-06 09:35 | 60.1553 | 30.0777
2024-06-06 09:40 | 60.1398 | 30.0699
2024-06-06 09:45 | 60.2386 | 30.1193
2024-06-06 09:50 | 60.224 | 30.112
2024-06-06 09:55 | 60.5057 | 30.2528
2024-06-06 10:00 | 60.204 | 30.102
2024-06-06 10:05 | 60.335 | 30.1675
2024-06-06 10:10 | 60.3635 | 30.1817
2024-06-06 10:15 | 60.4116 | 30.2058
2024-06-06 10:20 | 60.3648 | 30.1824
2024-06-06 10:25 | 60.2197 | 30.1099
2024-06-06 10:30 | 60.3358 | 30.1679
2024-06-06 10:35 | 60.3636 | 30.1818
2024-06-06 10:40 | 60.4578 | 30.2289
2024-06-06 10:45 | 60.5403 | 30.2701
2024-06-06 10:50 | 60.5291 | 30.2645
2024-06-06 10:55 | 60.544 | 30.272
2024-06-06 11:00 | 60.4766 | 30.2383
2024-06-06 11:05 | 60.7312 | 30.3656
2024-06-06 11:10 | 60.6134 | 30.3067
2024-06-06 11:15 | 60.4261 | 30.213
2024-06-06 11:20 | 60.5594 | 30.2797
2024-06-06 11:25 | 60.5848 | 30.2924
2024-06-06 11:30 | 60.5432 | 30.2716
2024-06-06 11:35 | 60.3305 | 30.1653
2024-06-06 11:40 | 60.4345 | 30.2173
2024-06-06 11:45 | 60.5228 | 30.2614
2024-06-06 11:50 | 60.2547 | 30.1274
2024-06-06 11:55 | 60.8346 | 30.4173
2024-06-06 12:00 | 60.7021 | 30.351
2024-06-06 12:05 | 60.5117 | 30.2559
2024-06-06 12:10 | 60.8946 | 30.4473
2024-06-06 12:15 | 60.6717 | 30.3358
2024-06-06 12:20 | 60.6752 | 30.3376
2024-06-06 12:25 | 60.5975 | 30.2987
2024-06-06 12:30 | 60.4609 | 30.2305
2024-06-06 12:35 | 60.4711 | 30.2356
2024-06-06 12:40 | 60.6605 | 30.3303
2024-06-06 12:45 | 60.6301 | 30.315
2024-06-06 12:50 | 60.5347 | 30.2673
2024-06-06 12:55 | 60.6173 | 30.3086
2024-06-06 13:00 | 60.5513 | 30.2756
2024-06-06 13:05 | 60.6172 | 30.3086
2024-06-06 13:10 | 60.5968 | 30.2984
2024-06-06 13:15 | 60.6437 | 30.3219
2024-06-06 13:20 | 60.6929 | 30.3464
2024-06-06 13:25 | 60.7338 | 30.3669
2024-06-06 13:30 | 60.568 | 30.284
2024-06-06 13:35 | 60.5013 | 30.2506
2024-06-06 13:40 | 60.4736 | 30.2368
2024-06-06 13:45 | 60.5753 | 30.2876
2024-06-06 13:50 | 60.6428 | 30.3214
2024-06-06 13:55 | 60.8175 | 30.4087
2024-06-06 14:00 | 60.7181 | 30.3591
2024-06-06 14:05 | 60.5369 | 30.2684
2024-06-06 14:10 | 60.5849 | 30.2924
2024-06-06 14:15 | 60.6134 | 30.3067
2024-06-06 14:20 | 60.533 | 30.2665
2024-06-06 14:25 | 60.6597 | 30.3298
2024-06-06 14:30 | 60.7535 | 30.3768
2024-06-06 14:35 | 60.3037 | 30.1518
2024-06-06 14:40 | 60.75 | 30.375
2024-06-06 14:45 | 60.8169 | 30.4085
2024-06-06 14:50 | 60.5833 | 30.2916
2024-06-06 14:55 | 60.4914 | 30.2457
2024-06-06 15:00 | 60.649 | 30.3245
2024-06-06 15:05 | 60.6548 | 30.3274
2024-06-06 15:10 | 60.7732 | 30.3866
2024-06-06 15:15 | 60.8704 | 30.4352
2024-06-06 15:20 | 61.0402 | 30.5201
2024-06-06 15:25 | 60.6174 | 30.3087
2024-06-06 15:30 | 60.4091 | 30.2046
2024-06-06 15:35 | 60.7852 | 30.3926
2024-06-06 15:40 | 60.5088 | 30.2544
2024-06-06 15:45 | 60.6644 | 30.3322
2024-06-06 15:50 | 60.5013 | 30.2507
2024-06-06 15:55 | 60.4684 | 30.2342
2024-06-06 16:00 | 60.6871 | 30.3436
2024-06-06 16:05 | 60.2685 | 30.1342
2024-06-06 16:10 | 60.5223 | 30.2611
2024-06-06 16:15 | 60.4654 | 30.2327
2024-06-06 16:20 | 60.5277 | 30.2638
2024-06-06 16:25 | 60.4582 | 30.2291
2024-06-06 16:30 | 60.7197 | 30.3599
2024-06-06 16:35 | 60.5599 | 30.28
2024-06-06 16:40 | 60.55 | 30.275
2024-06-06 16:45 | 60.777 | 30.3885
2024-06-06 16:50 | 60.6735 | 30.3367
2024-06-06 16:55 | 60.7071 | 30.3536
2024-06-06 17:00 | 60.6748 | 30.3374
2024-06-06 17:05 | 60.7681 | 30.3841
2024-06-06 17:10 | 60.6265 | 30.3132
2024-06-06 17:15 | 60.6819 | 30.341
2024-06-06 17:20 | 60.495 | 30.2475
2024-06-06 17:25 | 60.4028 | 30.2014
2024-06-06 17:30 | 60.7807 | 30.3903
2024-06-06 17:35 | 60.498 | 30.249
2024-06-06 17:40 | 60.6827 | 30.3414
2024-06-06 17:45 | 60.596 | 30.298
2024-06-06 17:50 | 60.3003 | 30.1502
2024-06-06 17:55 | 60.6008 | 30.3004
2024-06-06 18:00 | 60.6176 | 30.3088
2024-06-06 18:05 | 60.5796 | 30.2898
2024-06-06 18:10 | 60.7345 | 30.3673
2024-06-06 18:15 | 60.4926 | 30.2463
2024-06-06 18:20 | 60.7889 | 30.3944
2024-06-06 18:25 | 60.7167 | 30.3583
2024-06-06 18:30 | 60.4796 | 30.2398
2024-06-06 18:35 | 60.802 | 30.401
2024-06-06 18:40 | 60.8156 | 30.4078
2024-06-06 18:45 | 60.5688 | 30.2844
2024-06-06 18:50 | 60.6803 | 30.3401
2024-06-06 18:55 | 60.6858 | 30.3429
2024-06-06 19:00 | 60.6002 | 30.3001
2024-06-06 19:05 | 60.4057 | 30.2028
2024-06-06 19:10 | 60.7041 | 30.352
2024-06-06 19:15 | 60.585 | 30.2925
2024-06-06 19:20 | 60.5541 | 30.2771
2024-06-06 19:25 | 60.964 | 30.482
2024-06-06 19:30 | 60.6057 | 30.3029
2024-06-06 19:35 | 60.716 | 30.358
2024-06-06 19:40 | 60.5075 | 30.2537
2024-06-06 19:45 | 60.6161 | 30.3081
2024-06-06 19:50 | 60.5394 | 30.2697
2024-06-06 19:55 | 60.6027 | 30.3014
2024-06-06 20:00 | 60.5659 | 30.283
2024-06-06 20:05 | 60.5273 | 30.2637
2024-06-06 20:10 | 60.5406 | 30.2703
2024-06-06 20:15 | 60.5499 | 30.275
2024-06-06 20:20 | 60.6924 | 30.3462
2024-06-06 20:25 | 60.5133 | 30.2567
2024-06-06 20:30 | 60.6563 | 30.3282
2024-06-06 20:35 | 60.5032 | 30.2516
2024-06-06 20:40 | 60.5595 | 30.2798
2024-06-06 20:45 | 60.559 | 30.2795
2024-06-06 20:50 | 60.7098 | 30.3549
2024-06-06 20:55 | 60.3327 | 30.1664
2024-06-06 21:00 | 60.6182 | 30.3091
2024-06-06 21:05 | 60.7461 | 30.373
2024-06-06 21:10 | 60.5062 | 30.2531
2024-06-06 21:15 | 60.5871 | 30.2936
2024-06-06 21:20 | 60.4207 | 30.2104
2024-06-06 21:25 | 60.5969 | 30.2985
2024-06-06 21:30 | 60.3589 | 30.1794
2024-06-06 21:35 | 60.5886 | 30.2943
2024-06-06 21:40 | 60.4304 | 30.2152
2024-06-06 21:45 | 60.6799 | 30.3399
2024-06-06 21:50 | 60.5985 | 30.2993
2024-06-06 21:55 | 60.5277 | 30.2639
2024-06-06 22:00 | 60.3258 | 30.1629
2024-06-06 22:05 | 60.6536 | 30.3268
2024-06-06 22:10 | 60.649 | 30.3245
2024-06-06 22:15 | 60.5828 | 30.2914
2024-06-06 22:20 | 60.5212 | 30.2606
2024-06-06 22:25 | 60.3123 | 30.1561
2024-06-06 22:30 | 60.6016 | 30.3008
2024-06-06 22:35 | 60.5926 | 30.2963
2024-06-06 22:40 | 60.4645 | 30.2323
2024-06-06 22:45 | 60.549 | 30.2745
2024-06-06 22:50 | 60.5525 | 30.2762
2024-06-06 22:55 | 60.5031 | 30.2516
2024-06-06 23:00 | 60.5882 | 30.2941
2024-06-06 23:05 | 60.46 | 30.23
2024-06-06 23:10 | 60.6581 | 30.329
2024-06-06 23:15 | 60.6237 | 30.3118
2024-06-06 23:20 | 60.6393 | 30.3197
2024-06-06 23:25 | 60.7428 | 30.3714
2024-06-06 23:30 | 60.7335 | 30.3668
2024-06-06 23:35 | 60.6063 | 30.3032
2024-06-06 23:40 | 60.6692 | 30.3346
2024-06-06 23:45 | 60.655 | 30.3275
2024-06-06 23:50 | 60.7403 | 30.3701
2024-06-06 23:55 | 60.7288 | 30.3644
2024-06-07 | 60.6778 | 30.3389
2024-06-07 00:05 | 60.5134 | 30.2567
2024-06-07 00:10 | 60.5235 | 30.2617
2024-06-07 00:15 | 60.4583 | 30.2292
2024-06-07 00:20 | 60.6089 | 30.3045
2024-06-07 00:25 | 60.5879 | 30.2939
2024-06-07 00:30 | 60.5387 | 30.2694
2024-06-07 00:35 | 60.4144 | 30.2072
2024-06-07 00:40 | 60.4922 | 30.2461
2024-06-07 00:45 | 60.6052 | 30.3026
2024-06-07 00:50 | 60.7967 | 30.3983
2024-06-07 00:55 | 60.6654 | 30.3327
2024-06-07 01:00 | 60.4218 | 30.2109
2024-06-07 01:05 | 60.6044 | 30.3022
2024-06-07 01:10 | 60.6291 | 30.3145
2024-06-07 01:15 | 60.4828 | 30.2414
2024-06-07 01:20 | 60.7401 | 30.3701
2024-06-07 01:25 | 60.8343 | 30.4171
2024-06-07 01:30 | 60.5919 | 30.296
2024-06-07 01:35 | 60.3492 | 30.1746
2024-06-07 01:40 | 60.6941 | 30.347
2024-06-07 01:45 | 60.7773 | 30.3887
2024-06-07 01:50 | 60.575 | 30.2875
2024-06-07 01:55 | 60.5594 | 30.2797
2024-06-07 02:00 | 60.6389 | 30.3194
2024-06-07 02:05 | 60.7778 | 30.3889
2024-06-07 02:10 | 60.5242 | 30.2621
2024-06-07 02:15 | 60.5083 | 30.2541
2024-06-07 02:20 | 60.6704 | 30.3352
2024-06-07 02:25 | 60.6953 | 30.3477
2024-06-07 02:30 | 60.6971 | 30.3485
2024-06-07 02:35 | 60.6798 | 30.3399
2024-06-07 02:40 | 60.4629 | 30.2314
2024-06-07 02:45 | 60.7052 | 30.3526
2024-06-07 02:50 | 60.5746 | 30.2873
2024-06-07 02:55 | 60.7642 | 30.3821
2024-06-07 03:00 | 60.8319 | 30.416
2024-06-07 03:05 | 60.9384 | 30.4692
2024-06-07 03:10 | 60.5944 | 30.2972
2024-06-07 03:15 | 60.5291 | 30.2645
2024-06-07 03:20 | 60.2163 | 30.1082
2024-06-07 03:25 | 60.5225 | 30.2613
2024-06-07 03:30 | 60.5302 | 30.2651
2024-06-07 03:35 | 60.5043 | 30.2521
2024-06-07 03:40 | 60.4161 | 30.2081
2024-06-07 03:45 | 60.7522 | 30.3761
2024-06-07 03:50 | 60.5629 | 30.2814
2024-06-07 03:55 | 60.5546 | 30.2773
2024-06-07 04:00 | 60.7345 | 30.3673
2024-06-07 04:05 | 60.7539 | 30.3769
2024-06-07 04:10 | 60.6535 | 30.3267
2024-06-07 04:15 | 60.5187 | 30.2594
2024-06-07 04:20 | 60.6016 | 30.3008
2024-06-07 04:25 | 60.3695 | 30.1847
2024-06-07 04:30 | 60.4122 | 30.2061
2024-06-07 04:35 | 60.7391 | 30.3696
2024-06-07 04:40 | 60.5006 | 30.2503
2024-06-07 04:45 | 60.7389 | 30.3695
2024-06-07 04:50 | 60.5453 | 30.2726
2024-06-07 04:55 | 60.5255 | 30.2627
2024-06-07 05:00 | 60.5259 | 30.263
2024-06-07 05:05 | 60.5821 | 30.2911
2024-06-07 05:10 | 60.7552 | 30.3776
2024-06-07 05:15 | 60.6715 | 30.3357
2024-06-07 05:20 | 60.6586 | 30.3293
2024-06-07 05:25 | 60.634 | 30.317
2024-06-07 05:30 | 60.8386 | 30.4193
2024-06-07 05:35 | 60.8645 | 30.4322
2024-06-07 05:40 | 60.7939 | 30.397
2024-06-07 05:45 | 60.7924 | 30.3962
2024-06-07 05:50 | 61.3201 | 30.6601
2024-06-07 05:55 | 61.0292 | 30.5146
2024-06-07 06:00 | 61.036 | 30.518
2024-06-07 06:05 | 61.4908 | 30.7454
2024-06-07 06:10 | 61.4829 | 30.7415
2024-06-07 06:15 | 61.4656 | 30.7328
2024-06-07 06:20 | 61.5414 | 30.7707
2024-06-07 06:25 | 61.7941 | 30.8971
2024-06-07 06:30 | 61.7559 | 30.878
2024-06-07 06:35 | 61.6425 | 30.8212
2024-06-07 06:40 | 62.0134 | 31.0067
2024-06-07 06:45 | 62.2108 | 31.1054
2024-06-07 06:50 | 62.1578 | 31.0789
2024-06-07 06:55 | 62.1454 | 31.0727
2024-06-07 07:00 | 62.4158 | 31.2079
2024-06-07 07:05 | 62.3518 | 31.1759
2024-06-07 07:10 | 62.6017 | 31.3008
2024-06-07 07:15 | 62.4349 | 31.2175
2024-06-07 07:20 | 62.7437 | 31.3718
2024-06-07 07:25 | 63.1387 | 31.5694
2024-06-07 07:30 | 63.1299 | 31.5649
2024-06-07 07:35 | 62.986 | 31.493
2024-06-07 07:40 | 63.1446 | 31.5723
2024-06-07 07:45 | 63.1443 | 31.5721
2024-06-07 07:50 | 63.1081 | 31.5541
2024-06-07 07:55 | 63.2918 | 31.6459
2024-06-07 08:00 | 63.3764 | 31.6882
2024-06-07 08:05 | 63.2829 | 31.6414
2024-06-07 08:10 | 63.38 | 31.69
2024-06-07 08:15 | 63.2979 | 31.649
2024-06-07 08:20 | 63.3925 | 31.6962
2024-06-07 08:25 | 63.2295 | 31.6147
2024-06-07 08:30 | 63.1673 | 31.5836
2024-06-07 08:35 | 63.2129 | 31.6065
2024-06-07 08:40 | 63.1742 | 31.5871
2024-06-07 08:45 | 62.9181 | 31.4591
2024-06-07 08:50 | 63.1011 | 31.5506
2024-06-07 08:55 | 62.6876 | 31.3438
2024-06-07 09:00 | 62.9841 | 31.492
2024-06-07 09:05 | 62.9461 | 31.4731
2024-06-07 09:10 | 62.9092 | 31.4546
2024-06-07 09:15 | 62.8645 | 31.4323
2024-06-07 09:20 | 62.8097 | 31.4049
2024-06-07 09:25 | 62.4584 | 31.2292
2024-06-07 09:30 | 62.3053 | 31.1526
2024-06-07 09:35 | 62.5746 | 31.2873
2024-06-07 09:40 | 62.2649 | 31.1325
2024-06-07 09:45 | 62.0409 | 31.0204
2024-06-07 09:50 | 61.9706 | 30.9853
2024-06-07 09:55 | 61.6103 | 30.8052
2024-06-07 10:00 | 61.5085 | 30.7543
2024-06-07 10:05 | 61.6965 | 30.8482
2024-06-07 10:10 | 61.4454 | 30.7227
2024-06-07 10:15 | 61.7833 | 30.8917
2024-06-07 10:20 | 61.5317 | 30.7658
2024-06-07 10:25 | 61.0537 | 30.5268
2024-06-07 10:30 | 60.9769 | 30.4884
2024-06-07 10:35 | 61.098 | 30.549
2024-06-07 10:40 | 60.9227 | 30.4613
2024-06-07 10:45 | 61.0916 | 30.5458
2024-06-07 10:50 | 61.0611 | 30.5306
2024-06-07 10:55 | 60.9245 | 30.4623
2024-06-07 11:00 | 60.9668 | 30.4834
2024-06-07 11:05 | 60.6328 | 30.3164
2024-06-07 11:10 | 60.6324 | 30.3162
2024-06-07 11:15 | 60.4425 | 30.2212
2024-06-07 11:20 | 60.3684 | 30.1842
2024-06-07 11:25 | 60.5016 | 30.2508
2024-06-07 11:30 | 60.5794 | 30.2897
2024-06-07 11:35 | 60.6682 | 30.3341
2024-06-07 11:40 | 60.8335 | 30.4168
2024-06-07 11:45 | 60.5135 | 30.2567
2024-06-07 11:50 | 60.5851 | 30.2926
2024-06-07 11:55 | 60.4756 | 30.2378
2024-06-07 12:00 | 60.4008 | 30.2004
2024-06-07 12:05 | 60.6871 | 30.3435
2024-06-07 12:10 | 60.4671 | 30.2335
2024-06-07 12:15 | 60.9099 | 30.455
2024-06-07 12:20 | 60.6881 | 30.3441
2024-06-07 12:25 | 61.2726 | 30.6363
2024-06-07 12:30 | 60.8372 | 30.4186
2024-06-07 12:35 | 60.5464 | 30.2732
2024-06-07 12:40 | 60.614 | 30.307
2024-06-07 12:45 | 60.9678 | 30.4839
2024-06-07 12:50 | 60.8148 | 30.4074
2024-06-07 12:55 | 60.4908 | 30.2454
2024-06-07 13:00 | 60.4904 | 30.2452
2024-06-07 13:05 | 9.6074 | 4.8037

## Process parameters
Line: 1
Name: Sn GDE -pulsing
Time (UTC) | OLR | HRT
| (g VS/l/day) | (days)

## Feed data
Line nr: 1
Name: Sn GDE -pulsing
Time (UTC) | Substrate name | Substrate concentration | Substrate amount | Organic amount
|  | (%) | (g) | (g VS)