## Process data
Report generated (UTC) | 2024-05-27 12:09
Software version | Aurora 1.0.6
Instrument name | 0p9M_pH3 Na2SO4
Instrument model name | BPC Go
Ethernet mac address | f8:dc:7a:6f:0d:ec
Agitation state | Off
Agitation phase | Single
Agitation phase speed (%) | 30
Gas normalisation | Unnormalised
Line | 1
Name | Sn GDE -pulsing
Start of experiment (UTC) | 2024-05-24 13:15
Reactor volume (ml) | 2000
| Sn GDE -pulsing | Sn GDE -pulsing
Time (UTC) | Gas flow rate | Specific gas production
Interval: 5 minutes | (ml/min) | (ml/min/l)
2024-05-24 13:10 | 0 | 0
2024-05-24 13:15 | 0 | 0
2024-05-24 13:20 | 25.9263 | 12.9631
2024-05-24 13:25 | 56.3988 | 28.1994
2024-05-24 13:30 | 53.7083 | 26.8542
2024-05-24 13:35 | 53.0321 | 26.5161
2024-05-24 13:40 | 53.1418 | 26.5709
2024-05-24 13:45 | 44.4486 | 22.2243
2024-05-24 13:50 | 53.1242 | 26.5621
2024-05-24 13:55 | 53.1188 | 26.5594
2024-05-24 14:00 | 53.6472 | 26.8236
2024-05-24 14:05 | 54.7735 | 27.3867
2024-05-24 14:10 | 54.5026 | 27.2513
2024-05-24 14:15 | 54.9616 | 27.4808
2024-05-24 14:20 | 55.1542 | 27.5771
2024-05-24 14:25 | 56.0759 | 28.0379
2024-05-24 14:30 | 56.1136 | 28.0568
2024-05-24 14:35 | 56.7338 | 28.3669
2024-05-24 14:40 | 56.6762 | 28.3381
2024-05-24 14:45 | 57.377 | 28.6885
2024-05-24 14:50 | 57.4839 | 28.742
2024-05-24 14:55 | 57.7138 | 28.8569
2024-05-24 15:00 | 57.8802 | 28.9401
2024-05-24 15:05 | 58.1937 | 29.0968
2024-05-24 15:10 | 58.1547 | 29.0773
2024-05-24 15:15 | 58.96 | 29.48
2024-05-24 15:20 | 58.875 | 29.4375
2024-05-24 15:25 | 59.0084 | 29.5042
2024-05-24 15:30 | 58.9768 | 29.4884
2024-05-24 15:35 | 59.1563 | 29.5782
2024-05-24 15:40 | 59.4776 | 29.7388
2024-05-24 15:45 | 59.7203 | 29.8601
2024-05-24 15:50 | 59.4491 | 29.7245
2024-05-24 15:55 | 59.9131 | 29.9566
2024-05-24 16:00 | 59.6426 | 29.8213
2024-05-24 16:05 | 60.1172 | 30.0586
2024-05-24 16:10 | 60.2459 | 30.1229
2024-05-24 16:15 | 60.2634 | 30.1317
2024-05-24 16:20 | 60.0549 | 30.0275
2024-05-24 16:25 | 60.3341 | 30.167
2024-05-24 16:30 | 60.402 | 30.201
2024-05-24 16:35 | 60.6377 | 30.3188
2024-05-24 16:40 | 60.8041 | 30.4021
2024-05-24 16:45 | 60.8581 | 30.429
2024-05-24 16:50 | 60.8742 | 30.4371
2024-05-24 16:55 | 60.8377 | 30.4188
2024-05-24 17:00 | 61.0163 | 30.5082
2024-05-24 17:05 | 61.0876 | 30.5438
2024-05-24 17:10 | 61.0749 | 30.5374
2024-05-24 17:15 | 61.5076 | 30.7538
2024-05-24 17:20 | 61.2374 | 30.6187
2024-05-24 17:25 | 61.1452 | 30.5726
2024-05-24 17:30 | 61.342 | 30.671
2024-05-24 17:35 | 61.0461 | 30.523
2024-05-24 17:40 | 61.3807 | 30.6903
2024-05-24 17:45 | 61.2279 | 30.6139
2024-05-24 17:50 | 61.5974 | 30.7987
2024-05-24 17:55 | 61.7776 | 30.8888
2024-05-24 18:00 | 61.6875 | 30.8437
2024-05-24 18:05 | 61.8765 | 30.9382
2024-05-24 18:10 | 61.8119 | 30.906
2024-05-24 18:15 | 61.8499 | 30.9249
2024-05-24 18:20 | 61.8537 | 30.9269
2024-05-24 18:25 | 61.8547 | 30.9273
2024-05-24 18:30 | 61.8917 | 30.9458
2024-05-24 18:35 | 61.6213 | 30.8106
2024-05-24 18:40 | 61.8466 | 30.9233
2024-05-24 18:45 | 61.9836 | 30.9918
2024-05-24 18:50 | 61.96 | 30.98
2024-05-24 18:55 | 61.5809 | 30.7905
2024-05-24 19:00 | 61.5944 | 30.7972
2024-05-24 19:05 | 61.8028 | 30.9014
2024-05-24 19:10 | 61.7685 | 30.8843
2024-05-24 19:15 | 61.9809 | 30.9904
2024-05-24 19:20 | 61.7545 | 30.8773
2024-05-24 19:25 | 61.896 | 30.948
2024-05-24 19:30 | 61.7131 | 30.8566
2024-05-24 19:35 | 61.964 | 30.982
2024-05-24 19:40 | 61.8894 | 30.9447
2024-05-24 19:45 | 62.035 | 31.0175
2024-05-24 19:50 | 62.3167 | 31.1583
2024-05-24 19:55 | 62.5825 | 31.2912
2024-05-24 20:00 | 62.4217 | 31.2109
2024-05-24 20:05 | 62.2579 | 31.129
2024-05-24 20:10 | 62.4254 | 31.2127
2024-05-24 20:15 | 62.4475 | 31.2237
2024-05-24 20:20 | 62.2355 | 31.1178
2024-05-24 20:25 | 62.3694 | 31.1847
2024-05-24 20:30 | 62.4788 | 31.2394
2024-05-24 20:35 | 62.263 | 31.1315
2024-05-24 20:40 | 62.4751 | 31.2376
2024-05-24 20:45 | 62.5107 | 31.2554
2024-05-24 20:50 | 62.3219 | 31.161
2024-05-24 20:55 | 62.2394 | 31.1197
2024-05-24 21:00 | 62.3773 | 31.1887
2024-05-24 21:05 | 62.249 | 31.1245
2024-05-24 21:10 | 62.3604 | 31.1802
2024-05-24 21:15 | 62.111 | 31.0555
2024-05-24 21:20 | 62.2939 | 31.147
2024-05-24 21:25 | 62.3212 | 31.1606
2024-05-24 21:30 | 62.3928 | 31.1964
2024-05-24 21:35 | 62.3245 | 31.1622
2024-05-24 21:40 | 62.3204 | 31.1602
2024-05-24 21:45 | 62.4426 | 31.2213
2024-05-24 21:50 | 62.7687 | 31.3843
2024-05-24 21:55 | 64.1527 | 32.0763
2024-05-24 22:00 | 63.9922 | 31.9961
2024-05-24 22:05 | 64.0463 | 32.0231
2024-05-24 22:10 | 64.1791 | 32.0896
2024-05-24 22:15 | 64.0072 | 32.0036
2024-05-24 22:20 | 63.9764 | 31.9882
2024-05-24 22:25 | 64.0704 | 32.0352
2024-05-24 22:30 | 64.1527 | 32.0763
2024-05-24 22:35 | 64.0261 | 32.0131
2024-05-24 22:40 | 63.9198 | 31.9599
2024-05-24 22:45 | 64.0415 | 32.0208
2024-05-24 22:50 | 63.9906 | 31.9953
2024-05-24 22:55 | 64.1336 | 32.0668
2024-05-24 23:00 | 63.9178 | 31.9589
2024-05-24 23:05 | 63.9558 | 31.9779
2024-05-24 23:10 | 63.8463 | 31.9231
2024-05-24 23:15 | 63.7579 | 31.8789
2024-05-24 23:20 | 63.9205 | 31.9602
2024-05-24 23:25 | 63.9885 | 31.9943
2024-05-24 23:30 | 64.0396 | 32.0198
2024-05-24 23:35 | 63.8484 | 31.9242
2024-05-24 23:40 | 64.3637 | 32.1818
2024-05-24 23:45 | 63.9241 | 31.9621
2024-05-24 23:50 | 65.7097 | 32.8549
2024-05-24 23:55 | 68.3268 | 34.1634
2024-05-25 | 68.1907 | 34.0954
2024-05-25 00:05 | 68.4508 | 34.2254
2024-05-25 00:10 | 68.1719 | 34.0859
2024-05-25 00:15 | 68.2801 | 34.1401
2024-05-25 00:20 | 68.3233 | 34.1617
2024-05-25 00:25 | 68.3897 | 34.1949
2024-05-25 00:30 | 68.3226 | 34.1613
2024-05-25 00:35 | 68.4252 | 34.2126
2024-05-25 00:40 | 68.269 | 34.1345
2024-05-25 00:45 | 68.2629 | 34.1315
2024-05-25 00:50 | 68.0439 | 34.022
2024-05-25 00:55 | 68.2368 | 34.1184
2024-05-25 01:00 | 68.3632 | 34.1816
2024-05-25 01:05 | 68.219 | 34.1095
2024-05-25 01:10 | 68.4535 | 34.2268
2024-05-25 01:15 | 68.4222 | 34.2111
2024-05-25 01:20 | 68.2052 | 34.1026
2024-05-25 01:25 | 68.1895 | 34.0947
2024-05-25 01:30 | 68.3129 | 34.1565
2024-05-25 01:35 | 68.2434 | 34.1217
2024-05-25 01:40 | 68.5649 | 34.2824
2024-05-25 01:45 | 68.5704 | 34.2852
2024-05-25 01:50 | 70.2969 | 35.1484
2024-05-25 01:55 | 73.2829 | 36.6415
2024-05-25 02:00 | 73.42 | 36.71
2024-05-25 02:05 | 73.3517 | 36.6759
2024-05-25 02:10 | 73.2255 | 36.6128
2024-05-25 02:15 | 73.3009 | 36.6505
2024-05-25 02:20 | 73.0743 | 36.5371
2024-05-25 02:25 | 73.0116 | 36.5058
2024-05-25 02:30 | 73.3303 | 36.6651
2024-05-25 02:35 | 73.0362 | 36.5181
2024-05-25 02:40 | 73.4132 | 36.7066
2024-05-25 02:45 | 73.2764 | 36.6382
2024-05-25 02:50 | 73.1669 | 36.5834
2024-05-25 02:55 | 73.2396 | 36.6198
2024-05-25 03:00 | 73.4615 | 36.7308
2024-05-25 03:05 | 73.3963 | 36.6981
2024-05-25 03:10 | 73.4123 | 36.7062
2024-05-25 03:15 | 73.3033 | 36.6517
2024-05-25 03:20 | 73.3843 | 36.6922
2024-05-25 03:25 | 73.3644 | 36.6822
2024-05-25 03:30 | 73.4534 | 36.7267
2024-05-25 03:35 | 73.4658 | 36.7329
2024-05-25 03:40 | 73.7326 | 36.8663
2024-05-25 03:45 | 73.4831 | 36.7415
2024-05-25 03:50 | 76.8668 | 38.4334
2024-05-25 03:55 | 83.2159 | 41.6079
2024-05-25 04:00 | 83.3389 | 41.6694
2024-05-25 04:05 | 83.1523 | 41.5762
2024-05-25 04:10 | 83.0104 | 41.5052
2024-05-25 04:15 | 82.9131 | 41.4566
2024-05-25 04:20 | 82.9539 | 41.477
2024-05-25 04:25 | 82.5396 | 41.2698
2024-05-25 04:30 | 82.7585 | 41.3793
2024-05-25 04:35 | 82.6235 | 41.3117
2024-05-25 04:40 | 82.6264 | 41.3132
2024-05-25 04:45 | 82.5637 | 41.2818
2024-05-25 04:50 | 82.4364 | 41.2182
2024-05-25 04:55 | 82.3833 | 41.1916
2024-05-25 05:00 | 82.639 | 41.3195
2024-05-25 05:05 | 82.3849 | 41.1924
2024-05-25 05:10 | 82.4081 | 41.2041
2024-05-25 05:15 | 82.5822 | 41.2911
2024-05-25 05:20 | 82.5826 | 41.2913
2024-05-25 05:25 | 82.7769 | 41.3885
2024-05-25 05:30 | 82.4359 | 41.2179
2024-05-25 05:35 | 82.6008 | 41.3004
2024-05-25 05:40 | 82.5592 | 41.2796
2024-05-25 05:45 | 82.4241 | 41.2121
2024-05-25 05:50 | 77.2894 | 38.6447
2024-05-25 05:55 | 68.1732 | 34.0866
2024-05-25 06:00 | 68.1225 | 34.0613
2024-05-25 06:05 | 68.284 | 34.142
2024-05-25 06:10 | 68.4036 | 34.2018
2024-05-25 06:15 | 68.4535 | 34.2267
2024-05-25 06:20 | 68.8515 | 34.4258
2024-05-25 06:25 | 68.9058 | 34.4529
2024-05-25 06:30 | 69.2636 | 34.6318
2024-05-25 06:35 | 69.3075 | 34.6537
2024-05-25 06:40 | 69.2277 | 34.6138
2024-05-25 06:45 | 69.6145 | 34.8072
2024-05-25 06:50 | 69.815 | 34.9075
2024-05-25 06:55 | 69.8771 | 34.9386
2024-05-25 07:00 | 69.9765 | 34.9882
2024-05-25 07:05 | 59.9938 | 29.9969
2024-05-25 07:10 | 18.0226 | 9.0113
2024-05-25 07:15 | 18.5298 | 9.2649
2024-05-25 07:20 | 18.404 | 9.202
2024-05-25 07:25 | 18.5613 | 9.2807
2024-05-25 07:30 | 18.5568 | 9.2784
2024-05-25 07:35 | 18.8237 | 9.4119
2024-05-25 07:40 | 18.6309 | 9.3154
2024-05-25 07:45 | 18.6538 | 9.3269
2024-05-25 07:50 | 18.88 | 9.44
2024-05-25 07:55 | 18.9446 | 9.4723
2024-05-25 08:00 | 19.0141 | 9.5071
2024-05-25 08:05 | 19.0862 | 9.5431
2024-05-25 08:10 | 19.037 | 9.5185
2024-05-25 08:15 | 19.2866 | 9.6433
2024-05-25 08:20 | 19.1958 | 9.5979
2024-05-25 08:25 | 19.3895 | 9.6948
2024-05-25 08:30 | 19.2827 | 9.6413
2024-05-25 08:35 | 19.386 | 9.693
2024-05-25 08:40 | 19.4945 | 9.7473
2024-05-25 08:45 | 19.6137 | 9.8069
2024-05-25 08:50 | 19.6467 | 9.8233
2024-05-25 08:55 | 19.6297 | 9.8148
2024-05-25 09:00 | 19.7537 | 9.8768
2024-05-25 09:05 | 19.6903 | 9.8452
2024-05-25 09:10 | 19.6699 | 9.8349
2024-05-25 09:15 | 19.839 | 9.9195
2024-05-25 09:20 | 19.8191 | 9.9096
2024-05-25 09:25 | 19.8836 | 9.9418
2024-05-25 09:30 | 19.8424 | 9.9212
2024-05-25 09:35 | 19.8879 | 9.9439
2024-05-25 09:40 | 19.8622 | 9.9311
2024-05-25 09:45 | 20.0902 | 10.0451
2024-05-25 09:50 | 19.8769 | 9.9384
2024-05-25 09:55 | 20.018 | 10.009
2024-05-25 10:00 | 19.9938 | 9.9969
2024-05-25 10:05 | 19.9966 | 9.9983
2024-05-25 10:10 | 20.1221 | 10.0611
2024-05-25 10:15 | 20.1663 | 10.0831
2024-05-25 10:20 | 20.1153 | 10.0576
2024-05-25 10:25 | 19.8856 | 9.9428
2024-05-25 10:30 | 19.9408 | 9.9704
2024-05-25 10:35 | 20.0777 | 10.0389
2024-05-25 10:40 | 20.1895 | 10.0947
2024-05-25 10:45 | 20.1941 | 10.0971
2024-05-25 10:50 | 20.2224 | 10.1112
2024-05-25 10:55 | 20.1928 | 10.0964
2024-05-25 11:00 | 20.2407 | 10.1204
2024-05-25 11:05 | 20.1914 | 10.0957
2024-05-25 11:10 | 20.2499 | 10.125
2024-05-25 11:15 | 20.0533 | 10.0266
2024-05-25 11:20 | 20.3017 | 10.1508
2024-05-25 11:25 | 20.1544 | 10.0772
2024-05-25 11:30 | 20.1145 | 10.0573
2024-05-25 11:35 | 20.2883 | 10.1442
2024-05-25 11:40 | 20.1975 | 10.0988
2024-05-25 11:45 | 20.2505 | 10.1252
2024-05-25 11:50 | 20.1473 | 10.0737
2024-05-25 11:55 | 20.2771 | 10.1386
2024-05-25 12:00 | 20.2801 | 10.14
2024-05-25 12:05 | 20.2543 | 10.1271
2024-05-25 12:10 | 20.2051 | 10.1026
2024-05-25 12:15 | 20.2538 | 10.1269
2024-05-25 12:20 | 20.2208 | 10.1104
2024-05-25 12:25 | 20.404 | 10.202
2024-05-25 12:30 | 20.4395 | 10.2197
2024-05-25 12:35 | 20.1332 | 10.0666
2024-05-25 12:40 | 20.1945 | 10.0973
2024-05-25 12:45 | 20.3011 | 10.1505
2024-05-25 12:50 | 20.2286 | 10.1143
2024-05-25 12:55 | 20.3138 | 10.1569
2024-05-25 13:00 | 20.3083 | 10.1541
2024-05-25 13:05 | 20.3654 | 10.1827
2024-05-25 13:10 | 20.2826 | 10.1413
2024-05-25 13:15 | 20.2075 | 10.1038
2024-05-25 13:20 | 20.1859 | 10.093
2024-05-25 13:25 | 20.1485 | 10.0742
2024-05-25 13:30 | 20.3334 | 10.1667
2024-05-25 13:35 | 20.2905 | 10.1453
2024-05-25 13:40 | 20.2958 | 10.1479
2024-05-25 13:45 | 20.2863 | 10.1432
2024-05-25 13:50 | 20.262 | 10.131
2024-05-25 13:55 | 20.3139 | 10.1569
2024-05-25 14:00 | 20.2252 | 10.1126
2024-05-25 14:05 | 20.2304 | 10.1152
2024-05-25 14:10 | 20.2268 | 10.1134
2024-05-25 14:15 | 20.3055 | 10.1528
2024-05-25 14:20 | 20.3167 | 10.1584
2024-05-25 14:25 | 20.2229 | 10.1115
2024-05-25 14:30 | 20.1282 | 10.0641
2024-05-25 14:35 | 20.2166 | 10.1083
2024-05-25 14:40 | 20.2323 | 10.1162
2024-05-25 14:45 | 20.2216 | 10.1108
2024-05-25 14:50 | 20.1378 | 10.0689
2024-05-25 14:55 | 20.3069 | 10.1534
2024-05-25 15:00 | 20.1415 | 10.0707
2024-05-25 15:05 | 20.0508 | 10.0254
2024-05-25 15:10 | 20.1404 | 10.0702
2024-05-25 15:15 | 20.2336 | 10.1168
2024-05-25 15:20 | 20.3204 | 10.1602
2024-05-25 15:25 | 20.0954 | 10.0477
2024-05-25 15:30 | 20.4749 | 10.2375
2024-05-25 15:35 | 20.5675 | 10.2837
2024-05-25 15:40 | 20.0543 | 10.0271
2024-05-25 15:45 | 20.2822 | 10.1411
2024-05-25 15:50 | 20.5229 | 10.2615
2024-05-25 15:55 | 20.167 | 10.0835
2024-05-25 16:00 | 20.1955 | 10.0978
2024-05-25 16:05 | 20.2205 | 10.1103
2024-05-25 16:10 | 20.1943 | 10.0971
2024-05-25 16:15 | 19.9813 | 9.9906
2024-05-25 16:20 | 20.3768 | 10.1884
2024-05-25 16:25 | 20.0958 | 10.0479
2024-05-25 16:30 | 19.9978 | 9.9989
2024-05-25 16:35 | 20.1062 | 10.0531
2024-05-25 16:40 | 20.3324 | 10.1662
2024-05-25 16:45 | 20.0417 | 10.0208
2024-05-25 16:50 | 20.1198 | 10.0599
2024-05-25 16:55 | 20.1692 | 10.0846
2024-05-25 17:00 | 20.2088 | 10.1044
2024-05-25 17:05 | 20.1383 | 10.0691
2024-05-25 17:10 | 20.1875 | 10.0937
2024-05-25 17:15 | 20.3143 | 10.1572
2024-05-25 17:20 | 20.2617 | 10.1309
2024-05-25 17:25 | 20.1623 | 10.0812
2024-05-25 17:30 | 20.2407 | 10.1203
2024-05-25 17:35 | 20.2919 | 10.1459
2024-05-25 17:40 | 20.3785 | 10.1892
2024-05-25 17:45 | 20.1149 | 10.0574
2024-05-25 17:50 | 20.1346 | 10.0673
2024-05-25 17:55 | 20.0665 | 10.0333
2024-05-25 18:00 | 20.1838 | 10.0919
2024-05-25 18:05 | 20.2285 | 10.1143
2024-05-25 18:10 | 20.2868 | 10.1434
2024-05-25 18:15 | 20.1289 | 10.0645
2024-05-25 18:20 | 20.3039 | 10.1519
2024-05-25 18:25 | 20.166 | 10.083
2024-05-25 18:30 | 20.1798 | 10.0899
2024-05-25 18:35 | 20.2666 | 10.1333
2024-05-25 18:40 | 20.2492 | 10.1246
2024-05-25 18:45 | 20.2284 | 10.1142
2024-05-25 18:50 | 20.0269 | 10.0135
2024-05-25 18:55 | 20.3648 | 10.1824
2024-05-25 19:00 | 20.2384 | 10.1192
2024-05-25 19:05 | 20.0739 | 10.0369
2024-05-25 19:10 | 20.3089 | 10.1545
2024-05-25 19:15 | 20.3703 | 10.1851
2024-05-25 19:20 | 20.1629 | 10.0815
2024-05-25 19:25 | 20.2305 | 10.1153
2024-05-25 19:30 | 20.4776 | 10.2388
2024-05-25 19:35 | 20.0839 | 10.0419
2024-05-25 19:40 | 20.227 | 10.1135
2024-05-25 19:45 | 20.2008 | 10.1004
2024-05-25 19:50 | 20.2593 | 10.1297
2024-05-25 19:55 | 20.1413 | 10.0707
2024-05-25 20:00 | 20.269 | 10.1345
2024-05-25 20:05 | 20.1839 | 10.0919
2024-05-25 20:10 | 20.2663 | 10.1332
2024-05-25 20:15 | 20.2568 | 10.1284
2024-05-25 20:20 | 20.0714 | 10.0357
2024-05-25 20:25 | 20.5745 | 10.2873
2024-05-25 20:30 | 20.148 | 10.074
2024-05-25 20:35 | 20.2593 | 10.1296
2024-05-25 20:40 | 20.1639 | 10.082
2024-05-25 20:45 | 20.3576 | 10.1788
2024-05-25 20:50 | 20.3074 | 10.1537
2024-05-25 20:55 | 20.3859 | 10.1929
2024-05-25 21:00 | 20.3273 | 10.1636
2024-05-25 21:05 | 20.2211 | 10.1106
2024-05-25 21:10 | 20.4308 | 10.2154
2024-05-25 21:15 | 20.0207 | 10.0104
2024-05-25 21:20 | 20.2567 | 10.1284
2024-05-25 21:25 | 20.2609 | 10.1305
2024-05-25 21:30 | 20.3155 | 10.1578
2024-05-25 21:35 | 20.3562 | 10.1781
2024-05-25 21:40 | 20.1964 | 10.0982
2024-05-25 21:45 | 20.2907 | 10.1454
2024-05-25 21:50 | 20.2171 | 10.1085
2024-05-25 21:55 | 20.2267 | 10.1134
2024-05-25 22:00 | 20.3766 | 10.1883
2024-05-25 22:05 | 20.1037 | 10.0518
2024-05-25 22:10 | 20.1882 | 10.0941
2024-05-25 22:15 | 20.2583 | 10.1291
2024-05-25 22:20 | 20.1361 | 10.068
2024-05-25 22:25 | 20.2236 | 10.1118
2024-05-25 22:30 | 20.4112 | 10.2056
2024-05-25 22:35 | 20.3782 | 10.1891
2024-05-25 22:40 | 20.0657 | 10.0328
2024-05-25 22:45 | 20.3279 | 10.1639
2024-05-25 22:50 | 20.3233 | 10.1616
2024-05-25 22:55 | 20.2991 | 10.1496
2024-05-25 23:00 | 20.2575 | 10.1288
2024-05-25 23:05 | 20.2887 | 10.1444
2024-05-25 23:10 | 20.134 | 10.067
2024-05-25 23:15 | 20.1891 | 10.0946
2024-05-25 23:20 | 20.3772 | 10.1886
2024-05-25 23:25 | 20.4242 | 10.2121
2024-05-25 23:30 | 20.3233 | 10.1616
2024-05-25 23:35 | 20.2388 | 10.1194
2024-05-25 23:40 | 20.0861 | 10.043
2024-05-25 23:45 | 20.2912 | 10.1456
2024-05-25 23:50 | 20.3963 | 10.1981
2024-05-25 23:55 | 20.438 | 10.219
2024-05-26 | 20.1172 | 10.0586
2024-05-26 00:05 | 20.266 | 10.133
2024-05-26 00:10 | 20.2688 | 10.1344
2024-05-26 00:15 | 20.4725 | 10.2363
2024-05-26 00:20 | 20.5313 | 10.2657
2024-05-26 00:25 | 20.1923 | 10.0962
2024-05-26 00:30 | 20.1414 | 10.0707
2024-05-26 00:35 | 20.1282 | 10.0641
2024-05-26 00:40 | 20.2955 | 10.1478
2024-05-26 00:45 | 20.1786 | 10.0893
2024-05-26 00:50 | 20.2074 | 10.1037
2024-05-26 00:55 | 20.132 | 10.066
2024-05-26 01:00 | 20.2734 | 10.1367
2024-05-26 01:05 | 20.026 | 10.013
2024-05-26 01:10 | 20.2199 | 10.1099
2024-05-26 01:15 | 20.2735 | 10.1368
2024-05-26 01:20 | 20.4087 | 10.2044
2024-05-26 01:25 | 20.3658 | 10.1829
2024-05-26 01:30 | 20.2532 | 10.1266
2024-05-26 01:35 | 20.4405 | 10.2202
2024-05-26 01:40 | 20.0471 | 10.0236
2024-05-26 01:45 | 20.2763 | 10.1381
2024-05-26 01:50 | 20.2386 | 10.1193
2024-05-26 01:55 | 20.3511 | 10.1755
2024-05-26 02:00 | 20.3236 | 10.1618
2024-05-26 02:05 | 20.2766 | 10.1383
2024-05-26 02:10 | 20.499 | 10.2495
2024-05-26 02:15 | 20.4593 | 10.2296
2024-05-26 02:20 | 20.3525 | 10.1763
2024-05-26 02:25 | 20.113 | 10.0565
2024-05-26 02:30 | 20.1338 | 10.0669
2024-05-26 02:35 | 20.2698 | 10.1349
2024-05-26 02:40 | 20.2198 | 10.1099
2024-05-26 02:45 | 20.1141 | 10.0571
2024-05-26 02:50 | 20.1454 | 10.0727
2024-05-26 02:55 | 20.1954 | 10.0977
2024-05-26 03:00 | 20.0959 | 10.048
2024-05-26 03:05 | 20.4784 | 10.2392
2024-05-26 03:10 | 20.4066 | 10.2033
2024-05-26 03:15 | 20.3179 | 10.159
2024-05-26 03:20 | 20.0689 | 10.0344
2024-05-26 03:25 | 20.5002 | 10.2501
2024-05-26 03:30 | 20.0839 | 10.0419
2024-05-26 03:35 | 20.1719 | 10.086
2024-05-26 03:40 | 20.2323 | 10.1161
2024-05-26 03:45 | 20.3498 | 10.1749
2024-05-26 03:50 | 20.3664 | 10.1832
2024-05-26 03:55 | 20.2203 | 10.1102
2024-05-26 04:00 | 20.4511 | 10.2256
2024-05-26 04:05 | 20.4334 | 10.2167
2024-05-26 04:10 | 20.413 | 10.2065
2024-05-26 04:15 | 20.2488 | 10.1244
2024-05-26 04:20 | 20.1865 | 10.0933
2024-05-26 04:25 | 20.3481 | 10.174
2024-05-26 04:30 | 20.2879 | 10.144
2024-05-26 04:35 | 20.2324 | 10.1162
2024-05-26 04:40 | 20.3302 | 10.1651
2024-05-26 04:45 | 20.293 | 10.1465
2024-05-26 04:50 | 20.2564 | 10.1282
2024-05-26 04:55 | 20.223 | 10.1115
2024-05-26 05:00 | 20.178 | 10.089
2024-05-26 05:05 | 20.4606 | 10.2303
2024-05-26 05:10 | 20.357 | 10.1785
2024-05-26 05:15 | 20.4268 | 10.2134
2024-05-26 05:20 | 20.2618 | 10.1309
2024-05-26 05:25 | 20.3084 | 10.1542
2024-05-26 05:30 | 20.4503 | 10.2252
2024-05-26 05:35 | 20.221 | 10.1105
2024-05-26 05:40 | 20.4307 | 10.2153
2024-05-26 05:45 | 20.3403 | 10.1701
2024-05-26 05:50 | 20.4045 | 10.2022
2024-05-26 05:55 | 20.3378 | 10.1689
2024-05-26 06:00 | 20.2642 | 10.1321
2024-05-26 06:05 | 20.3423 | 10.1712
2024-05-26 06:10 | 20.1844 | 10.0922
2024-05-26 06:15 | 20.2371 | 10.1185
2024-05-26 06:20 | 20.6579 | 10.329
2024-05-26 06:25 | 20.4733 | 10.2366
2024-05-26 06:30 | 20.4913 | 10.2456
2024-05-26 06:35 | 20.4785 | 10.2393
2024-05-26 06:40 | 20.3879 | 10.194
2024-05-26 06:45 | 20.3956 | 10.1978
2024-05-26 06:50 | 20.2049 | 10.1024
2024-05-26 06:55 | 20.3981 | 10.199
2024-05-26 07:00 | 20.3886 | 10.1943
2024-05-26 07:05 | 20.3645 | 10.1822
2024-05-26 07:10 | 20.5734 | 10.2867
2024-05-26 07:15 | 20.2377 | 10.1189
2024-05-26 07:20 | 20.3262 | 10.1631
2024-05-26 07:25 | 20.3663 | 10.1831
2024-05-26 07:30 | 20.3281 | 10.1641
2024-05-26 07:35 | 20.2278 | 10.1139
2024-05-26 07:40 | 20.3092 | 10.1546
2024-05-26 07:45 | 20.388 | 10.194
2024-05-26 07:50 | 20.3781 | 10.189
2024-05-26 07:55 | 20.5692 | 10.2846
2024-05-26 08:00 | 20.4682 | 10.2341
2024-05-26 08:05 | 20.7395 | 10.3698
2024-05-26 08:10 | 20.5195 | 10.2598
2024-05-26 08:15 | 20.1137 | 10.0569
2024-05-26 08:20 | 20.4763 | 10.2381
2024-05-26 08:25 | 20.4525 | 10.2262
2024-05-26 08:30 | 20.571 | 10.2855
2024-05-26 08:35 | 20.4408 | 10.2204
2024-05-26 08:40 | 20.2978 | 10.1489
2024-05-26 08:45 | 20.2657 | 10.1329
2024-05-26 08:50 | 20.1408 | 10.0704
2024-05-26 08:55 | 20.4931 | 10.2466
2024-05-26 09:00 | 20.4395 | 10.2197
2024-05-26 09:05 | 20.2131 | 10.1066
2024-05-26 09:10 | 20.614 | 10.307
2024-05-26 09:15 | 20.5786 | 10.2893
2024-05-26 09:20 | 20.2444 | 10.1222
2024-05-26 09:25 | 20.2143 | 10.1072
2024-05-26 09:30 | 20.3289 | 10.1645
2024-05-26 09:35 | 20.2942 | 10.1471
2024-05-26 09:40 | 20.4725 | 10.2363
2024-05-26 09:45 | 20.3118 | 10.1559
2024-05-26 09:50 | 20.3924 | 10.1962
2024-05-26 09:55 | 20.3807 | 10.1903
2024-05-26 10:00 | 20.1799 | 10.09
2024-05-26 10:05 | 20.1657 | 10.0829
2024-05-26 10:10 | 20.0668 | 10.0334
2024-05-26 10:15 | 20.2536 | 10.1268
2024-05-26 10:20 | 20.1577 | 10.0789
2024-05-26 10:25 | 20.3629 | 10.1814
2024-05-26 10:30 | 20.345 | 10.1725
2024-05-26 10:35 | 20.4301 | 10.215
2024-05-26 10:40 | 20.0194 | 10.0097
2024-05-26 10:45 | 20.354 | 10.177
2024-05-26 10:50 | 20.2586 | 10.1293
2024-05-26 10:55 | 20.2604 | 10.1302
2024-05-26 11:00 | 20.5236 | 10.2618
2024-05-26 11:05 | 20.3893 | 10.1946
2024-05-26 11:10 | 20.5387 | 10.2694
2024-05-26 11:15 | 20.2613 | 10.1307
2024-05-26 11:20 | 20.2624 | 10.1312
2024-05-26 11:25 | 20.178 | 10.089
2024-05-26 11:30 | 20.4769 | 10.2385
2024-05-26 11:35 | 20.5866 | 10.2933
2024-05-26 11:40 | 20.3067 | 10.1533
2024-05-26 11:45 | 19.8749 | 9.9374
2024-05-26 11:50 | 20.3409 | 10.1705
2024-05-26 11:55 | 20.3726 | 10.1863
2024-05-26 12:00 | 20.4345 | 10.2172
2024-05-26 12:05 | 20.2745 | 10.1372
2024-05-26 12:10 | 20.2988 | 10.1494
2024-05-26 12:15 | 20.2392 | 10.1196
2024-05-26 12:20 | 20.3668 | 10.1834
2024-05-26 12:25 | 20.457 | 10.2285
2024-05-26 12:30 | 20.3133 | 10.1567
2024-05-26 12:35 | 20.2275 | 10.1137
2024-05-26 12:40 | 20.4019 | 10.2009
2024-05-26 12:45 | 20.2732 | 10.1366
2024-05-26 12:50 | 20.4154 | 10.2077
2024-05-26 12:55 | 20.3001 | 10.1501
2024-05-26 13:00 | 20.1909 | 10.0954
2024-05-26 13:05 | 20.4529 | 10.2264
2024-05-26 13:10 | 20.3951 | 10.1975
2024-05-26 13:15 | 20.4511 | 10.2256
2024-05-26 13:20 | 20.2496 | 10.1248
2024-05-26 13:25 | 20.4709 | 10.2355
2024-05-26 13:30 | 20.72 | 10.36
2024-05-26 13:35 | 20.3388 | 10.1694
2024-05-26 13:40 | 20.2539 | 10.127
2024-05-26 13:45 | 20.412 | 10.206
2024-05-26 13:50 | 20.5012 | 10.2506
2024-05-26 13:55 | 20.4488 | 10.2244
2024-05-26 14:00 | 20.294 | 10.147
2024-05-26 14:05 | 20.6626 | 10.3313
2024-05-26 14:10 | 20.5175 | 10.2587
2024-05-26 14:15 | 20.2979 | 10.1489
2024-05-26 14:20 | 20.4403 | 10.2201
2024-05-26 14:25 | 20.3242 | 10.1621
2024-05-26 14:30 | 20.2374 | 10.1187
2024-05-26 14:35 | 20.4126 | 10.2063
2024-05-26 14:40 | 20.1593 | 10.0796
2024-05-26 14:45 | 20.4232 | 10.2116
2024-05-26 14:50 | 20.2036 | 10.1018
2024-05-26 14:55 | 20.1241 | 10.062
2024-05-26 15:00 | 20.4071 | 10.2035
2024-05-26 15:05 | 20.183 | 10.0915
2024-05-26 15:10 | 20.079 | 10.0395
2024-05-26 15:15 | 20.1768 | 10.0884
2024-05-26 15:20 | 19.9589 | 9.9794
2024-05-26 15:25 | 20.2633 | 10.1316
2024-05-26 15:30 | 20.1648 | 10.0824
2024-05-26 15:35 | 20.1785 | 10.0892
2024-05-26 15:40 | 20.1357 | 10.0678
2024-05-26 15:45 | 20.1211 | 10.0606
2024-05-26 15:50 | 20.2299 | 10.1149
2024-05-26 15:55 | 20.3019 | 10.151
2024-05-26 16:00 | 20.2773 | 10.1386
2024-05-26 16:05 | 20.3001 | 10.15
2024-05-26 16:10 | 20.3413 | 10.1707
2024-05-26 16:15 | 20.2365 | 10.1183
2024-05-26 16:20 | 20.2588 | 10.1294
2024-05-26 16:25 | 20.1815 | 10.0907
2024-05-26 16:30 | 20.1904 | 10.0952
2024-05-26 16:35 | 20.3902 | 10.1951
2024-05-26 16:40 | 20.4833 | 10.2417
2024-05-26 16:45 | 20.3123 | 10.1562
2024-05-26 16:50 | 20.2352 | 10.1176
2024-05-26 16:55 | 20.2954 | 10.1477
2024-05-26 17:00 | 20.3341 | 10.1671
2024-05-26 17:05 | 20.4601 | 10.2301
2024-05-26 17:10 | 20.3495 | 10.1747
2024-05-26 17:15 | 20.2052 | 10.1026
2024-05-26 17:20 | 20.241 | 10.1205
2024-05-26 17:25 | 20.2321 | 10.116
2024-05-26 17:30 | 20.3553 | 10.1776
2024-05-26 17:35 | 20.3267 | 10.1634
2024-05-26 17:40 | 20.3139 | 10.1569
2024-05-26 17:45 | 20.3763 | 10.1882
2024-05-26 17:50 | 20.3283 | 10.1642
2024-05-26 17:55 | 20.1921 | 10.096
2024-05-26 18:00 | 20.2359 | 10.1179
2024-05-26 18:05 | 20.3384 | 10.1692
2024-05-26 18:10 | 20.2245 | 10.1123
2024-05-26 18:15 | 20.1474 | 10.0737
2024-05-26 18:20 | 20.2974 | 10.1487
2024-05-26 18:25 | 20.3635 | 10.1818
2024-05-26 18:30 | 20.3042 | 10.1521
2024-05-26 18:35 | 20.2535 | 10.1268
2024-05-26 18:40 | 20.3283 | 10.1641
2024-05-26 18:45 | 20.2828 | 10.1414
2024-05-26 18:50 | 20.2804 | 10.1402
2024-05-26 18:55 | 20.1076 | 10.0538
2024-05-26 19:00 | 20.3565 | 10.1782
2024-05-26 19:05 | 20.327 | 10.1635
2024-05-26 19:10 | 20.49 | 10.245
2024-05-26 19:15 | 20.4569 | 10.2285
2024-05-26 19:20 | 20.3526 | 10.1763
2024-05-26 19:25 | 20.2103 | 10.1052
2024-05-26 19:30 | 20.1351 | 10.0676
2024-05-26 19:35 | 20.1516 | 10.0758
2024-05-26 19:40 | 20.1989 | 10.0995
2024-05-26 19:45 | 20.3148 | 10.1574
2024-05-26 19:50 | 20.4564 | 10.2282
2024-05-26 19:55 | 20.3091 | 10.1546
2024-05-26 20:00 | 20.3598 | 10.1799
2024-05-26 20:05 | 20.1711 | 10.0856
2024-05-26 20:10 | 20.3168 | 10.1584
2024-05-26 20:15 | 20.1241 | 10.0621
2024-05-26 20:20 | 20.1869 | 10.0934
2024-05-26 20:25 | 20.3203 | 10.1602
2024-05-26 20:30 | 20.204 | 10.102
2024-05-26 20:35 | 20.4266 | 10.2133
2024-05-26 20:40 | 20.1788 | 10.0894
2024-05-26 20:45 | 20.2868 | 10.1434
2024-05-26 20:50 | 20.2977 | 10.1489
2024-05-26 20:55 | 20.1612 | 10.0806
2024-05-26 21:00 | 20.1399 | 10.07
2024-05-26 21:05 | 20.3648 | 10.1824
2024-05-26 21:10 | 20.3842 | 10.1921
2024-05-26 21:15 | 20.1048 | 10.0524
2024-05-26 21:20 | 20.2473 | 10.1236
2024-05-26 21:25 | 20.3932 | 10.1966
2024-05-26 21:30 | 20.4181 | 10.209
2024-05-26 21:35 | 20.4777 | 10.2388
2024-05-26 21:40 | 20.4427 | 10.2213
2024-05-26 21:45 | 20.5214 | 10.2607
2024-05-26 21:50 | 20.4391 | 10.2195
2024-05-26 21:55 | 20.0764 | 10.0382
2024-05-26 22:00 | 20.114 | 10.057
2024-05-26 22:05 | 20.3103 | 10.1551
2024-05-26 22:10 | 20.2065 | 10.1033
2024-05-26 22:15 | 20.3272 | 10.1636
2024-05-26 22:20 | 20.5333 | 10.2667
2024-05-26 22:25 | 20.301 | 10.1505
2024-05-26 22:30 | 20.4427 | 10.2214
2024-05-26 22:35 | 20.3437 | 10.1718
2024-05-26 22:40 | 20.2189 | 10.1095
2024-05-26 22:45 | 20.5934 | 10.2967
2024-05-26 22:50 | 19.9678 | 9.9839
2024-05-26 22:55 | 20.0675 | 10.0337
2024-05-26 23:00 | 20.2764 | 10.1382
2024-05-26 23:05 | 20.2566 | 10.1283
2024-05-26 23:10 | 20.4213 | 10.2106
2024-05-26 23:15 | 20.2379 | 10.1189
2024-05-26 23:20 | 20.3963 | 10.1982
2024-05-26 23:25 | 20.1125 | 10.0562
2024-05-26 23:30 | 20.2227 | 10.1114
2024-05-26 23:35 | 20.2295 | 10.1148
2024-05-26 23:40 | 20.3024 | 10.1512
2024-05-26 23:45 | 20.3853 | 10.1927
2024-05-26 23:50 | 20.5098 | 10.2549
2024-05-26 23:55 | 20.2975 | 10.1487
2024-05-27 | 20.3321 | 10.1661
2024-05-27 00:05 | 20.1063 | 10.0531
2024-05-27 00:10 | 20.3482 | 10.1741
2024-05-27 00:15 | 20.2626 | 10.1313
2024-05-27 00:20 | 20.13 | 10.065
2024-05-27 00:25 | 20.4999 | 10.2499
2024-05-27 00:30 | 20.2382 | 10.1191
2024-05-27 00:35 | 20.2753 | 10.1377
2024-05-27 00:40 | 20.1686 | 10.0843
2024-05-27 00:45 | 20.2569 | 10.1285
2024-05-27 00:50 | 20.4437 | 10.2218
2024-05-27 00:55 | 20.1693 | 10.0846
2024-05-27 01:00 | 20.1656 | 10.0828
2024-05-27 01:05 | 20.2786 | 10.1393
2024-05-27 01:10 | 20.3939 | 10.197
2024-05-27 01:15 | 20.2503 | 10.1251
2024-05-27 01:20 | 20.3294 | 10.1647
2024-05-27 01:25 | 20.3347 | 10.1674
2024-05-27 01:30 | 20.1809 | 10.0904
2024-05-27 01:35 | 20.1941 | 10.0971
2024-05-27 01:40 | 20.2469 | 10.1234
2024-05-27 01:45 | 20.213 | 10.1065
2024-05-27 01:50 | 20.3076 | 10.1538
2024-05-27 01:55 | 20.425 | 10.2125
2024-05-27 02:00 | 20.3872 | 10.1936
2024-05-27 02:05 | 20.0659 | 10.0329
2024-05-27 02:10 | 20.4259 | 10.213
2024-05-27 02:15 | 20.1925 | 10.0962
2024-05-27 02:20 | 20.2589 | 10.1295
2024-05-27 02:25 | 20.2558 | 10.1279
2024-05-27 02:30 | 20.2681 | 10.1341
2024-05-27 02:35 | 20.2374 | 10.1187
2024-05-27 02:40 | 20.3999 | 10.1999
2024-05-27 02:45 | 20.2369 | 10.1185
2024-05-27 02:50 | 20.27 | 10.135
2024-05-27 02:55 | 20.3855 | 10.1928
2024-05-27 03:00 | 20.4515 | 10.2258
2024-05-27 03:05 | 20.4503 | 10.2251
2024-05-27 03:10 | 20.3798 | 10.1899
2024-05-27 03:15 | 20.1474 | 10.0737
2024-05-27 03:20 | 20.0109 | 10.0055
2024-05-27 03:25 | 20.224 | 10.112
2024-05-27 03:30 | 20.224 | 10.112
2024-05-27 03:35 | 20.1743 | 10.0872
2024-05-27 03:40 | 20.3183 | 10.1591
2024-05-27 03:45 | 20.3626 | 10.1813
2024-05-27 03:50 | 20.3711 | 10.1856
2024-05-27 03:55 | 20.3505 | 10.1753
2024-05-27 04:00 | 20.2754 | 10.1377
2024-05-27 04:05 | 20.1262 | 10.0631
2024-05-27 04:10 | 20.3357 | 10.1679
2024-05-27 04:15 | 20.3796 | 10.1898
2024-05-27 04:20 | 20.3201 | 10.1601
2024-05-27 04:25 | 20.3296 | 10.1648
2024-05-27 04:30 | 20.1083 | 10.0542
2024-05-27 04:35 | 20.2932 | 10.1466
2024-05-27 04:40 | 20.296 | 10.148
2024-05-27 04:45 | 20.4237 | 10.2119
2024-05-27 04:50 | 20.051 | 10.0255
2024-05-27 04:55 | 20.044 | 10.022
2024-05-27 05:00 | 20.4277 | 10.2138
2024-05-27 05:05 | 20.2365 | 10.1182
2024-05-27 05:10 | 20.168 | 10.084
2024-05-27 05:15 | 20.1923 | 10.0962
2024-05-27 05:20 | 20.1257 | 10.0628
2024-05-27 05:25 | 20.3578 | 10.1789
2024-05-27 05:30 | 20.3595 | 10.1798
2024-05-27 05:35 | 20.1803 | 10.0902
2024-05-27 05:40 | 20.2286 | 10.1143
2024-05-27 05:45 | 20.2879 | 10.144
2024-05-27 05:50 | 20.382 | 10.191
2024-05-27 05:55 | 20.0801 | 10.0401
2024-05-27 06:00 | 20.5825 | 10.2913
2024-05-27 06:05 | 20.3921 | 10.1961
2024-05-27 06:10 | 20.3214 | 10.1607
2024-05-27 06:15 | 20.1652 | 10.0826
2024-05-27 06:20 | 20.3385 | 10.1693
2024-05-27 06:25 | 20.1989 | 10.0995
2024-05-27 06:30 | 20.3946 | 10.1973
2024-05-27 06:35 | 20.5498 | 10.2749
2024-05-27 06:40 | 20.5544 | 10.2772
2024-05-27 06:45 | 20.5155 | 10.2577
2024-05-27 06:50 | 20.3268 | 10.1634
2024-05-27 06:55 | 20.3228 | 10.1614
2024-05-27 07:00 | 20.679 | 10.3395
2024-05-27 07:05 | 20.3431 | 10.1716
2024-05-27 07:10 | 20.5858 | 10.2929
2024-05-27 07:15 | 20.7803 | 10.3901
2024-05-27 07:20 | 20.3237 | 10.1619
2024-05-27 07:25 | 20.6997 | 10.3499
2024-05-27 07:30 | 20.3677 | 10.1838
2024-05-27 07:35 | 20.8237 | 10.4118
2024-05-27 07:40 | 20.4772 | 10.2386
2024-05-27 07:45 | 20.7433 | 10.3717
2024-05-27 07:50 | 21.0554 | 10.5277
2024-05-27 07:55 | 20.8395 | 10.4198
2024-05-27 08:00 | 21.0132 | 10.5066
2024-05-27 08:05 | 21.255 | 10.6275
2024-05-27 08:10 | 20.8303 | 10.4152
2024-05-27 08:15 | 20.6748 | 10.3374
2024-05-27 08:20 | 20.8724 | 10.4362
2024-05-27 08:25 | 20.9442 | 10.4721
2024-05-27 08:30 | 20.5936 | 10.2968
2024-05-27 08:35 | 20.7105 | 10.3552
2024-05-27 08:40 | 20.7642 | 10.3821
2024-05-27 08:45 | 20.7769 | 10.3885
2024-05-27 08:50 | 20.8293 | 10.4147
2024-05-27 08:55 | 20.8003 | 10.4002
2024-05-27 09:00 | 20.8072 | 10.4036
2024-05-27 09:05 | 20.7543 | 10.3771
2024-05-27 09:10 | 20.7377 | 10.3689
2024-05-27 09:15 | 20.7048 | 10.3524
2024-05-27 09:20 | 20.6126 | 10.3063
2024-05-27 09:25 | 20.7373 | 10.3686
2024-05-27 09:30 | 20.6837 | 10.3418
2024-05-27 09:35 | 20.5548 | 10.2774
2024-05-27 09:40 | 20.6026 | 10.3013
2024-05-27 09:45 | 20.5483 | 10.2741
2024-05-27 09:50 | 17.9721 | 8.9861

## Process parameters
Line: 1
Name: Sn GDE -pulsing
Time (UTC) | OLR | HRT
| (g VS/l/day) | (days)

## Feed data
Line nr: 1
Name: Sn GDE -pulsing
Time (UTC) | Substrate name | Substrate concentration | Substrate amount | Organic amount
|  | (%) | (g) | (g VS)